Dc motor

LCD

Block Diagram:

Arduino

Dc motor driver

PC with open CV

Camera

Led

Pulse sensor

Dc fan

Temperature sensor

Node mcu

Ldr   sensor

mems sensor

Methodology:

The plans and techniques used in the design and development of the Hand gesture recognition for change the position of automatic adjustable beds in hospitals are described in this section. In order to perform hand gesture recognition to control bed position, many tools, libraries and languages are used like Open Source Computer Vision Library. Open CV established in Python Language. Python 3.7.4 version is an open source environment for compile the source code. It has many inbuilt function for recognizing hand gesture. The main component used here is the Arduino Uno. It is used to get the information from the Patient, based on the command it can take the necessary action and then change the bed movement. The system consists of biomedical sensors such as temperature sensor and pulse rate sensor. Pulse rate sensor is used for measuring the functioning of heart by blood flow through finger while temperature sensor is used to measure the body temperature through external skin. The sensor readings are then given to microcontroller which process the data. When room light is low the led will turn on automatically and if room temperature

High the fan will start. The medical parameter that been measured using sensors will be carefully monitored and if any abnormalities are found, SMS will be sent to the doctor using Nodemcu module. Here the measured physiological parameters such as pulse rate and temperature are also displayed using an LCD.