Smart Bed : Automated Bed Control with Health Tracker

Abstract:

Automation plays a vital role in our daily life. Hand gesture recognition is the main implementation in an automation field. This project states that a problem of adjusting the position of the bed with the help of hand gesture and home automation. We need inter mutual application for hand gesture recognition for implementing this work in a real-time system. For this real-time system, webcams are used to enable the hand gesture for human-computer interaction. It is proposed to demonstrate a real-time system to change the position of bed by hand gesture signs using webcams and simple hardware components. In this society the number of disabled patients is increasing and there is no one to take care of them. A patient required a caretaker to continuously monitor which is not always possible due to social or financial circumstances. So, to minimize care takers requirement and increase the comfort level of the patients here, we have proposed an automatic bed position control system for disabled patients. The bed positioning is also controlled by different hand gestures. The system also contains a continuous patient monitoring system that monitors various parameters such as temperature and pulse rate. If any of these any parameter crosses safe minimal level, this unit sends an alert signal to the doctor by sending an SMS.

INTRODUCTION

In recent years, society is facing many sociological and financial challenges, so there is less time for the elderly and paralyzed person. The number of disabled people in society is growing in which the patient is unable to take care of themselves. Continuous monitoring of these patients may require a fulltime caregiver, which is not always possible due to social or financial constraints. There are only two bed motions (up and down) of the existing electronic bed systems in hospitals. So, to minimize caretakers' requirements and increase the comfort level of the patients here, we have proposed a gesture control bed movement in which we have designed the motion of the bed based on the different hand gestures to the existing electronic bed systems.

A bed system used in various cases such as for disabled persons, paralyzed patients, and accident and old age people is also developed. The aim of this bed is to minimize the requirement of caretakers by providing two movements such as up and down movements thereby increasing the patient comfort level.

The bed is designed in such a way that the position of the bed is automatically controlled as per the requirement of the patients by using hand gesture recognition. A DC motor along with the help of the DC motor driver is used to control the bed.

A continuous patient monitoring system that contains the sensor nodes such as heart rate sensor and temperature sensor, these are capable of sensing the analog biomedical signal is also incorporated. These signals are then processed by using Arduino board.

Home automation using ldr and temperature sensors. To check the light condition of room, we are using ldr sensor and using temperature sensor to check the room temperature.

There is an alert system that comes into action if any abnormal condition found in patients’ health. This is performed by sending a stored message to the respective doctors of particular patient using Nodemcu module. This gives the efficiency and services in medical sector.

LITERATURE SURVEY

A previous version of our system was presented in [1]. One limitation of that method was that uses openCV Java. So that system faces the program complexity. The framework for human activity recognition using 3-D gesture posture data has been stored by using the Microsoft Kinect. Kinect is responsible for gathering high-level information about what the user is doing[6]. Several types of optical motion capture systems are capable of tracking the 3-D position and configuration of the hand. Users can interact with PC applications or games by performing hand gestures instead of relying on physical controllers [2]. There are other obvious advantages of thermal imagery, such as the ability to operate in complete darkness, which make it ideal for convert surveillance and proposed work of face recognition is done with the help of paper [3]. RGB color representation introduces color distortions and loss of information. An improvement on skin color modeling would be to depart from the traditional tri-stimulus paradigm. Using human skin spectrograph data, they demonstrated that spectrophotometric information reveals skin color details that help explain the uniqueness of skin color and its variations [4].

In this paper, author [5] experimented the gesture recognition that based on the local brightness of each block of the gesture image, the input gesture image is divided into 25x25 blocks each of 5x5 block size, and we have calculated the local brightness of each divided block after applying colored segmentation operation using HSV (Hue, Saturation and Value) color model, so, each gesture produces 25x25 feature values called feature vector, it shows that more that 65 % of these features were zero value which leads to minimum storage space, the recognition rate achieved was 91 % using 36 training gestures and 24 different testing gestures. Ubiquitous Computing is used to interact with the electronic devices using their habitual body gestures as they communicate with each other. It can be achieved by wearable gestural device named Magic Ring (MR) [7]. The Skin has been detected by using two methods. The two methods namely known as color-histogram based approach, Lookup table based approach. Adding double thresholding, Bayesian method, Bayesian method with texture detection has been invoked from the paper [8].Gesture control can enable them to do work without any obstruction. They can be able to use their different parts of body for the control operation. By their bodies they can control anything they cannot control normally like physically fit people. There has been a shift in technology from using touch screen, touchpad and keyboards to simply using hand gestures for controlling devices and gadgets. Its roots can be clearly seen in the video gaming world where people use hands to control the car, bike or gun operation [10].

The conventional technology of human computer interaction is mouse and keyboard. This technology has been replaced with eye blink and head movements. The system track the computer users head movements with a video camera and translates them into the movements of the mouse pointer on the screen and it also detect the user eye blink and translates them into mouse click events on computer screen. Movement of mouse cursor was implemented by head movement and mouse clicking events was implemented by eyes blink. The movements of mouse cursor were implemented using Viola-Jones algorithm and mouse clicking events were implemented using Template Matching algorithm [11]. Skin detection has been made by Self- Organising Map or SOM. It uses AXEON Learning Processor as the basis for a hardware skin detector. Using the SOM to construct skin tone detectors comparable to those built with convention histogram and mixture model techniques [12]. Depth sensor and Public datasets were widely used to detect the 3D hand gesture recognition. 3D hand gesture recognition in four aspects: 3D hand modelling, Static hand gesture, hand trajectory gesture recognition and continuous hand gesture recognition [13].

Statement of the problem:

The problem statement for "Bed Position Control Using Hand Gesture" involves developing a system or technology that allows users to adjust the position of a bed (e.g., raising or lowering the head or foot of the bed) using hand gestures as input. This system aims to provide an intuitive and convenient way for individuals to control the bed's position without the need for physical buttons or remote controls. The need for efficient and intelligent control of various devices and systems within a home environment. The primary goal is to create a comprehensive home automation system that enhances convenience, energy efficiency, security, and comfort for residents.

Scope of the project:

The scope of bed position control using hand gestures is not limited to a single application but extends to a wide range of potential use cases, from improving the comfort and convenience of everyday users to enhancing the quality of life for individuals with mobility challenges. It also aligns with the broader trend of integrating gesture recognition and automation into smart homes and healthcare environments. The home automation system is continually adapts to advancements in technology and changing consumer needs and preferences. As the Internet of Things (IoT) continues to grow, the potential for new applications and features within home automation systems expands, making homes more convenient, efficient, and secure.

Objectives:

- To Design a Automatic Bed System which can be controlled by mems sensor.

- To monitor the patient conditions using HB and Temperature.

- Automated medication alert system.

- Automatic room appliances control

- Hand Gestures detection using image processing

- In case of Emergency send intimation message to doctor or care taker

Possible outcomes:

- Users can adjust the position of their bed (e.g., raising or lowering the head or foot of the bed) with simple hand gestures, eliminating the need for physical buttons or remote controls.

- This adds convenience for individuals with limited mobility or those who want to make adjustments without leaving the bed.

- The system can make beds more accessible to individuals with disabilities or mobility challenges, allowing them to independently control their bed's position, enhancing their quality of life, and reducing reliance on caregivers.

- Home automation systems provide a high level of convenience by allowing users to control various devices and systems in their homes with ease.

- Users can optimize their energy consumption by scheduling and automating device usage based on occupancy and environmental conditions.

- Lower energy consumption and reduced utility bills are common outcomes of home automation.

Dc motor

LCD

Block Diagram:

Arduino

Dc motor driver

PC with open CV

Camera

Led

Pulse sensor

Dc fan

Temperature sensor

Node mcu

Ldr   sensor

mems sensor

Methodology:

The plans and techniques used in the design and development of the Hand gesture recognition for change the position of automatic adjustable beds in hospitals are described in this section. In order to perform hand gesture recognition to control bed position, many tools, libraries and languages are used like Open Source Computer Vision Library. Open CV established in Python Language. Python 3.7.4 version is an open source environment for compile the source code. It has many inbuilt function for recognizing hand gesture. The main component used here is the Arduino Uno. It is used to get the information from the Patient, based on the command it can take the necessary action and then change the bed movement. The system consists of biomedical sensors such as temperature sensor and pulse rate sensor. Pulse rate sensor is used for measuring the functioning of heart by blood flow through finger while temperature sensor is used to measure the body temperature through external skin. The sensor readings are then given to microcontroller which process the data. When room light is low the led will turn on automatically and if room temperature

High the fan will start. The medical parameter that been measured using sensors will be carefully monitored and if any abnormalities are found, SMS will be sent to the doctor using Nodemcu module. Here the measured physiological parameters such as pulse rate and temperature are also displayed using an LCD.

Hardware and Software Requirements:

Hardware

- Arduino Uno

- LCD Display

- Heartbeat Sensor

- Temperature Sensor

- Ldr sensor

- Nodemcu

- DC motor

- H-Bridge

- Dc fan

- led

- Power Supply

Software

- Arduino IDE

- Embedded C

- Python

- Open CV

Conclusion:

The proposed Gesture Controlled Bed movement is simple to use, and it is an inexpensive one. It is possible to provide a man-machine interaction system, which can be able to manage the movements of the bed position through the recognition of hand gestures. The three-coin algorithm applied to examine convex envelop and dirty points. The estimation of the palm center position is done through the Skyum algorithm, while the Gram algorithm is used to find fingertips. A machine algorithm is used to set the position through different hand gestures. The expression of words have been made successfully by this work for the speech impaired people. This project also helps the patients itself to adjust the bed on their comfort. And room appliances controlled automatically. The wireless smart health monitoring system project is designed to give a better healthcare service. This system is really assisting them in not spending much time with each of the patients for monitoring.

REFERENCES

[1] Sajida Fayyaz, Sidra Tahir. “Adjustment of Bed for a Patient through Gesture Recognition: An Image Processing Approach”. IEEE 2018.

[2] Hui-Shyong Yeo & Byung-Gook Lee & Hyotaek Lim. “Hand tracking and gesture recognition system for human-computer interaction using low-cost hardware” Springer Science+Business Media New York 2013.

[3] Diego A. Socolinsky, Andrea Selinger, and Joshua D. Neuheisel. “Face recognition with visible and thermal infrared imagery”. Computer Vision and Image Understanding 91 (24 march 2003) 72–114.

[4] Elli Angelopoulou, Rana Molana, and Kostas Daniilidis. “Multispectral Skin Color Modeling”. Computer Information Science Department, University of Pennsylvania Philadelphia, PA.

[5] Mokhtar M.Hasan, Pramod K. Mishra. “HSV Brightness Factor Matching for Gesture Recognition System”. International Journal of Image Processing (IJIP), Volume (4): Issue (5) .Department of Computer Science Faculty of Science BHU-Varanasi

Uttar Pradesh-221005, India.

[6] Gaglio. S, G.L. Re, and M. Morana. “Human activity recognition process using 3-D posture data”. IEEE Transactions on Human-Machine Systems. vol. 45, no.5, pp. 586-597, 2015.

[7] L. Jin, Y. Zhou, Z. Cheng, et al. “Magic ring: A finger-worn device for multiple appliances control using static finger gestures”. Sensors. vol. 12, no. 5, pp. 5775C5790, 2012.

[8] Zarit, Benjamin D., Boaz J. Super, and Francis KH Quek, “Comparison of five-color models in skin pixel classification”. Recognition, Analysis, and Tracking of Faces and Gestures in Real-Time Systems Proceedings. International Workshop, IEEE, 1999, pp. 58-63.

[9] Do, Martin, Tamim Asfour, and Rüdiger Dillmann, “Particle filter-based fingertip tracking with circular hough transform features”. Threshold. 2, 2011, pp.2

[10] Ali Hamza, Rahul Anand, Pragati Shivhare, Anjali Gaurav “Hand Gesture Recognition Applications”, International Journal of Interdisciplinary Research (IJIR) Vol-3, Issue-4, 2017 ISSN: 2454-1362

[11] Hernandez-Rebollar, J. L. Kyriakopoulos, N.Lindeman R.W, “A new instrumented approach for translating American Sign Language into sound and text” ,Proceedings of the Sixth IEEE International Conference, 2004

[12] Mehdi S.A., Khan Y. N., “Sign language recognition using sensor gloves”, Proceedings of the 9th International Conference, Volume:5, IEEE Conference Publications, 2002.

[13] Kunal Kadam, Rucha Ganu, Ankita Bhosekar, Prof. S. D. Joshi, “American Sign Language Interpreter”, Proceedings of the IEEE Fourth International Conference on Technology for Education, 2012

[14] Satjakarn Vutinuntakasame, “An Assistive Body Sensor Network Glove for Speech- and Hearing- Impaired Disabilities”, Proceedings of the IEEE Computer Society International Conference on Body Sensor Networks, 2011.

[5] Anbarasi Rajamohan, Hemavathy R., Dhanalakshmi M,“Deaf-Mute Communication Interpreter”, International. Journal of Scientific Engineering and Technology (ISSN : 2277-1581) Volume 2 Issue 5, pp : 336-341, 1 May 2013

[16] K.C. Shriharipriya and K. Arthy, “Flex sensor based hand gesture recognition system”, Proceedings of International Journal Of Innovative Research And Studies (IJIRS), Vellore, India, May 2013.