SMART BED: AUTOMATED BED CONTROL WITH HEALTH TRACKER

Abstract:

Automation plays a vital role in our daily life. Hand gesture recognition is the main implementation in an automation field. This project states that a problem of adjusting the position of the bed with the help of hand gesture. We need inter mutual application for hand gesture recognition for implementing this work in a real-time system. For this real-time system, webcams are used to enable the hand gesture for human-computer interaction. It is proposed to demonstrate a real-time system to change the position of bed by hand gesture signs using webcams and simple hardware components. In this society the number of disabled patients is increasing and there is no one to take care of them. A patient required a caretaker to continuously monitor which is not always possible due to social or financial circumstances. So, to minimize care takers requirement and increase the comfort level of the patients here, we have proposed an automatic bed position control system for disabled patients. The bed positioning is also controlled by different hand gestures. The system also contains a continuous patient monitoring system that monitors various parameters such as temperature and pulse rate. If any of these any parameter crosses safe minimal level, this unit sends an alert signal to the doctor by sending an SMS.

CHAPTER 1:

INTRODUCTION

In recent years, society is facing many sociological and financial challenges, so there is less time for the elderly and paralyzed person. The number of disabled people in society is growing in which the patient is unable to take care of themselves. Continuous monitoring of these patients may require a fulltime caregiver, which is not always possible due to social or financial constraints. There are only two bed motions (up and down) of the existing electronic bed systems in hospitals. So, to minimize caretakers' requirements and increase the comfort level of the patients here, we have proposed a gesture control bed movement in which we have designed the motion of the bed based on the different hand gestures to the existing electronic bed systems.

A bed system used in various cases such as for disabled persons, paralyzed patients, and accident and old age people is also developed. The aim of this bed is to minimize the requirement of caretakers by providing two movements such as up and down movements thereby increasing the patient comfort level.

The bed is designed in such a way that the position of the bed is automatically controlled as per the requirement of the patients by using hand gesture recognition. A DC motor along with the help of the DC motor driver is used to control the bed.

A continuous patient monitoring system that contains the sensor nodes such as heart rate sensor and temperature sensor, these are capable of sensing the analog biomedical signal is also incorporated. These signals are then processed by using Arduino board.

There is an alert system that comes into action if any abnormal condition found in patients’ health. This is performed by sending a stored message to the respective doctors of particular patient using Nodemcu module. This gives the efficiency and services in medical sector.

In recent years, society is facing many sociological and financial challenges, so there is less time for the elderly and paralyzed person. The number of disabled people in society is growing in which the patient is unable to take care of themselves. Continuous monitoring of these patients may require a fulltime caregiver, which is not always possible due to social or financial constraints. There are only two bed motions (up and down) of the existing electronic bed systems in hospitals. So, to minimize caretakers' requirements and increase the comfort level of the patients here, we have proposed a gesture control bed movement in which we have designed the motion of the bed based on the different hand gestures to the existing electronic bed systems.

## PROBLEM STATEMENT

The lack of an integrated system for automated bed control using hand gestures, alongside real-time health tracking, presents a critical challenge in modern sleep technology. Existing bed control mechanisms primarily rely on traditional interfaces, overlooking the potential of intuitive hand gesture recognition for seamless adjustments. Additionally, health monitoring during sleep is often disjointed from bed control. The objective is to engineer a Smart Bed that leverages hand gestures for precise and automated bed customization while simultaneously integrating a health tracker. This necessitates robust gesture recognition algorithms, sensor technology, and a cohesive control interface to achieve real-time and accurate bed adjustments, synergizing with comprehensive health monitoring. The end goal is to deliver   an intelligent and personalized sleep system that optimizes comfort and supports health through intuitive interactions and data-driven insights.

OBJECTIVES:

- To Design a Automatic Bed System which can be controlled by Hand Gestures.

- To monitor the patient conditions using HB and Temperature.

- In case of Emergency send intimation message to doctor or care taker.

CHAPTER 2:

LITERATURE SURVEY

# Active Noise Control Scheme for Smart Beds Based on a Wide and Narrow Band Hybrid Control Algorithm

The importance of information intelligence in today’s society is growing as a result of advances in science and technology, and as intelligent technology is now a part of almost every aspect of people’s lives, demand for data collection technology is rising. The active noise management of smart beds has proven to be a significant difficulty. Smart beds are a type of intelligent function bed that rely on intelligent sensor technologies to perform real-time monitoring of human health and sleep. The active noise control issue for smart beds is addressed in this study, which also suggests an enhanced broadband-narrowband hybrid control method based on the traditional hybrid control technique. In response to the experimental findings, acoustic feedback cancellation technology increased the stability of the control system, lessened algorithmic calculation difficulties, and more effectively neutralised feedback sound. The maximum steady-state noise reduction in the active noise reduction process is 17.7 dB for the improved wide and narrow band hybrid control algorithm and 13.9 dB for the classical wide and narrow band hybrid control algorithm, according to comparisons between time domain sound pressure and linear total sound pressure level results. After active noise reduction, both techniques can successfully eradicate the narrowband sweeping noise component and have a considerable suppressive effect on the broadband noise component. In comparison to the traditional broadband-narrowband hybrid control method, the revised algorithm has a better effect on noise reduction and has a useful use for intelligent applications.

Published in: IEEE Access ( Volume: 11)

Page(s): 92617 - 92627

Date of Publication: 25 August 2023

Electronic ISSN: 2169-3536

INSPEC Accession Number: 23687156

DOI: 10.1109/ACCESS.2023.3308694

Publisher: IEEE

Author:

Guoqiang Lu

State Key Laboratory of Mechanics and Control of Mechanical Structures, Nanjing University of Aeronautics and Astronautics, Nanjing, China

School of Electronic and Information Engineering, Sanjiang University, Nanjing, China

Renwen Chen

State Key Laboratory of Mechanics and Control of Mechanical Structures, Nanjing University of Aeronautics and Astronautics, Nanjing, China

Hao Liu

State Key Laboratory of Mechanics and Control of Mechanical Structures, Nanjing University of Aeronautics and Astronautics, Nanjing, China

# Design and development Intelligent Medical Care Bed Using Voice Recognition

Recently, with the development of technology in the medical and industrial fields, which contributed to the arrival of this technology to smart homes and life-saving hospitals for people to stay in their homes in a comfortable place where the normal situation for their lives, independence and freedom, and maintaining their security and health,. Message Sheet offers a specially designed medical care bed for patients in homes, nursing homes, hospitals or other people who need some special treatment and any form of health care by voice command. To control the smart bed system with the use of sensors capable of transmitting voice-activated signals, Numerous settings and capabilities are accessible via voice commands, including changeable height for the full bed, head and foot, and customizable temperature. Medical beds for patients and the elderly are now available. If the patient has a disorder that makes it impossible for them to live independently at home, this device allows them to be self-sufficient and does not require the assistance of others as in the past. It's all part of keeping up with research and development by incorporating smart technology into hospital beds to improve comfortability and limit the frequency of preventable diseases like pressure ulcers, which can occur when people stay in bed for lengthy periods of time. It is a network of electronic, mechanical, and digital components that are all working together.

Published in: 2022 IEEE 2nd International Maghreb Meeting of the Conference on Sciences and Techniques of Automatic Control and Computer Engineering (MI-STA)

Date of Conference: 23-25 May 2022

Date Added to IEEE Xplore: 27 July 2022

ISBN Information:

INSPEC Accession Number: 21905920

DOI: 10.1109/MI-STA54861.2022.9837521

Publisher: IEEE

Conference Location: Sabratha, Libya

Authors

Moeid M Elsokah

Communication Engineering Department, College of Electronic Technology, Tripoli, Libya

Amer R. Zerek

Faculty of Engineering/ EE Department, Zawia University, Zawia, Libya

# Smart Beds and Bedding Surfaces for Personalized Patient Care: A Review

Continuous patient monitoring during hospitalization is necessary to identify patterns of indicative risks or pathogens, whose early diagnosis and treatment is likely to lead to a reduction in morbidity and mortality and, consequently, a reduction in both the duration and cost of hospitalization. On the other hand, a patient falling from bed can cause serious damage to his health state, while the effect of pressure ulcers can be avoided by timely and accurate mapping of pressure points that inhibit tissue perfusion resulting in death. Recent technological advances and scientific achievements have introduced new and improved medical devices using highly-developed embedded control functions and interactivity. Current hospital beds include new forms of functionality, while still serving the same purpose. All of them are designed to fulfil a predefined purpose, whether that is to monitor the patient's vital signs continuously, in a non-obtrusive manner, or prevent a patient from falling off their bed or prevent the development of pressure ulcers. Over the last decades, this hospital bed evolution has brought a big change in both their standards and the overall patient care. In this work, we conduct a review of existing smart bed systems for patient monitoring, fall and pressure ulcer prevention from the state-of-the-art, focusing on evaluating smart bed systems that include any kind of smart features, like sensors and sensor mats, or exploiting Machine Learning (ML) algorithms and Wireless technology.

Published in: 2021 6th South-East Europe Design Automation, Computer Engineering, Computer Networks and Social Media Conference (SEEDA-CECNSM)

Date of Conference: 24-26 September 2021

Date Added to IEEE Xplore: 18 October 2021

ISBN Information:

INSPEC Accession Number: 21387956

DOI: 10.1109/SEEDA-CECNSM53056.2021.9566276

Publisher: IEEE

Conference Location: Preveza, Greece

Funding Agency:

Authors

Evaggelos Karvounis

Center for Research and Technology Hellas, Information Technologies Institute, Thessaloniki, Greece

Sofia Polymeni

Center for Research and Technology Hellas, Information Technologies Institute, Thessaloniki, Greece

Markos Tsipouras

Department of Electrical and Computer Engineering, University of Western Macedonia, Kozani, Greece

Kyriakos Koritsoglou

Center for Research and Technology Hellas, Information Technologies Institute, Thessaloniki, Greece

Dimitrios Tzovaras

Department of Electrical and Computer Engineering, University of Western Macedonia, Kozani, Greece

# Next Generation of Medical Care Bed with Internet of Things Solutions

Many industries depend on the technological development of the world. Technological developments in smart homes and life-saving hospitals allow people to stay indoors in a comfortable, secure and independent way where they want to be. This paper presents a Medical Care Bed with Internet of Things Solutions a bed designed specifically for patients in hospitals or other people who need some forms of health care that can be used with button, voice commands and phone applications. for control the Smart Bed System using sensors, to voice-controlled application, we are continuously trying to find a better way to control electrical and electronic devices to ease our daily life. Common features include adjustable height for the entire bed, head and feet, adjustable, adjustable, temperature, pressure, voice command and application to run both family using sensors and monitoring patient's body temperature, Measuring the proportion of oxygen in the blood and heart beat using arduino board. This family features are special features for both the ease and comfort of the patient and the comfort of health care workers.

Published in: 2019 19th International Conference on Sciences and Techniques of Automatic Control and Computer Engineering (STA)

Date of Conference: 24-26 March 2019

Date Added to IEEE Xplore: 20 May 2019

ISBN Information:

ISSN Information:

INSPEC Accession Number: 18691029

DOI: 10.1109/STA.2019.8717204

Publisher: IEEE

Conference Location: Sousse, Tunisia

Authors

Moeid M. Elsokah

Communication Engineering Department, College of Electronic Technology, Tripoli, Libya

Amer R. Zerek

Faculty of Engineering EE Department, Zawia University, Zawia, Libya

# IoT based Smart Care Bed with Recommender System for Elderly People

In today’s world, the problem of taking care of elderly people in their old age is just important and tedious as of taking care of a child, but the time and requirements are not available for everyone. The proposed project is developed in such a way that all the required monitoring is done automatically and the data reports and required suggestions are sent to the caretakers. The aim of the proposed IoT based smart bed system is to assist caretakers in helping elderly people who feel difficulty in taking care of themselves. Different sensors are used to measure the heart rate, temperature, blood pressure, and wetness. Raspberry Pi is used to interface with all the sensors. Raspberry Pi collects all the sensor data. These sensor data are given to the recommender system. Based on these sensors' data, the recommender system produces the output. For example, if the heart rate is high and blood pressure is low, the system tells that body needs oxygen, and this output is sent to the server, and an alert is sent to the caretakers to take further actions. The total setup of the hardware is so compact that it provides the elderly people as if a normal bed and also additional monitors can be set up for enabling an easy view of the sensor readings. The prototype of the bed is developed and the readings are viewed using a web server.

Published in: 2022 Third International Conference on Intelligent Computing Instrumentation and Control Technologies (ICICICT)

Date of Conference: 11-12 August 2022

Date Added to IEEE Xplore: 18 October 2022

ISBN Information:

INSPEC Accession Number: 22189924

DOI: 10.1109/ICICICT54557.2022.9917792

Publisher: IEEE

Conference Location: Kannur, India

Authors

J Dani Reagan Vivek

Electronics and Communication Engineering, Mepco Schlenk Engineering College, Sivakasi, India

V Chandirasekar

Electronics and Communication Engineering, Mepco Schlenk Engineering College, Sivakasi, India

J Mopheth Jebaraj

Electronics and Communication Engineering, Mepco Schlenk Engineering College, Sivakasi, India

# Developing a Smart IoT Solution to Monitor on-Bed Movement Patterns

IoT devices and systems become a part of modern living. They are mostly used to monitor daily activities, especially related to personal health and fitness. In fact, it is getting more crucial during the COVID-19 pandemic. In this study, a smart monitoring and alarming IoT system called “NEF” was modified to recognize on-bed movement patterns including prone position applying different machine learning techniques. On-bed movement patterns were collected from 7 subjects. Considering only prone and supine positions, the models obtained from multilayer perceptron was the best. However, random forest yielded the highest overall correctly classified percentage. Further investigation is likely to include beddings such as pillows and blankets.

Published in: 2020 - 5th International Conference on Information Technology (InCIT)

Date of Conference: 21-22 October 2020

Date Added to IEEE Xplore: 11 January 2021

ISBN Information:

INSPEC Accession Number: 20346697

DOI: 10.1109/InCIT50588.2020.9310930

Publisher: IEEE

Conference Location: Chonburi, Thailand

Authors

Prakrankiat Youngkong

Institute of Field Robotics, King Mongkut's University of Technology Thonburi

Worawit Panpanyatep

Institute of Field Robotics, King Mongkut's University of Technology Thonburi

Kitti Thamrongaphichartkul

Institute of Field Robotics, King Mongkut's University of Technology Thonburi

# Development of an IoT Based Health Monitoring System for e-Health

Healthcare monitoring system in hospitals and other health institutes has increased significantly. In recent days healthcare monitoring systems with new technologies are becoming of great concern to countries all over the world. Nowadays IOT (internet of things) is such an emerging technology. Iot consists of various sensors and communication devices which are necessary tools for IOT based health monitoring systems. Among the various applications that Internet of Things (IoT) facilitated to the world, Health care and Health monitoring applications are most important. It also responded if any medical emergency was needed. IoT (Internet of Things) has brought a remarkable approach in healthcare during the global pandemic. The remote health surveillance monitors certain parameters of a patient using digital technology and allows a correct evaluation of health right at home. This brilliant internet revolution has not only minimized patient movement during COVID but also ensured smart healthcare for all ages. IoT heads to set up a strategic connection between the patient & the doctors. The goal is to track the important health parameters such as - Blood pressure, heart rate, blood glucose level etc. and evaluate the data to figure out any sort of medical emergency. From diagnosing heart disease to finding ICU bed availability in the nearest hospitals, digital technology is all set to assist. Using certain medical sensor devices & web-based apps, the health data is passed to the portal from where concerned doctors can provide medical assistance. The data collection, transmission & visualization can use a smartphone as a hub, thus making the operation smooth & flexible. It is the most practical & economical solution to people of all ages while avoiding direct contact & preventing the spread of the virus. The wearable real-time health tracking devices privilege the elder citizen through continuous monitoring while ensuring immediate measures in case of emergency.

Published in: 2022 IEEE 12th Annual Computing and Communication Workshop and Conference (CCWC)

Date of Conference: 26-29 January 2022

Date Added to IEEE Xplore: 04 March 2022

ISBN Information:

INSPEC Accession Number: 21743392

DOI: 10.1109/CCWC54503.2022.9720825

Publisher: IEEE

Conference Location: Las Vegas, NV, USA

Authors

Md Julhas Hossain

Department of Electrical and Computer Engineering, North South University, Dhaka, Bangladesh

Md. Amdadul Bari

Department of Electrical and Computer Engineering, North South University, Dhaka, Bangladesh

Mohammad Monirujjaman Khan

Department of Electrical and Computer Engineering, North South University, Dhaka, Bangladesh

# Novel Model for Hospitalization Tracking based on Smart Contracts and IoT

In recent years, fraud and abuse of false health care hospitalizations have become a serious problem, requiring monitoring of hospital bed occupancy. Control will increase the social, health and economic efficiency of health care costs, which in turn will improve the quality of health services. This paper proposes a new model, based on a blockchain. In this model data from sensors located in hospital beds and a fitness tracker for each patient are chronologically recorded. At the same time there are both monitoring the location of the tracker and monitoring the patient's vital signs. The smart contract sends timely signals to stakeholders when the parameters of the sensors exceed the set norms. An experimental implementation of the model on Hyperledger Fabric is presented, which proves the applicability of the model.

Published in: 2022 International Conference Automatics and Informatics (ICAI)

Date of Conference: 06-08 October 2022

Date Added to IEEE Xplore: 28 November 2022

ISBN Information:

INSPEC Accession Number: 22332113

DOI: 10.1109/ICAI55857.2022.9959996

Publisher: IEEE

Conference Location: Varna, Bulgaria

# A Smart Bed for Non-Obtrusive Sleep Analysis in Real World Context

Sleep disorders are common health problems in industrialized societies and may be caused by underlying health issues. Current methods to assess the quality of sleep are invasive and not suitable for continuous monitoring in real world contexts. We have developed a smart sensing solution for non invasive sleep monitoring specifically conceived for the early identification of pre-clinical sleep disorders and insomnia in the general population. Our prototype, named the Smart-Bed, is a low-cost solution that gathers and processes data on the movement and position of the subject, physiological signals, and environmental parameters. Our tests on the prototype in controlled lab conditions highlighted that the mattress can reliably detect subject's position/motion, heart rate and breathing activity. It performs well compared to polysomnography and correctly classifies four behavioural conditions (no bed occupancy, wakefulness, non-REM sleep, and REM sleep), which are the basis for creating an objective sleep quality index.

Published in: IEEE Access ( Volume: 8)

Page(s): 45664 - 45673

Date of Publication: 24 February 2020

Electronic ISSN: 2169-3536

INSPEC Accession Number: 19442432

DOI: 10.1109/ACCESS.2020.2976194

Publisher: IEEE

Funding Agency:

Authors:

Marco Laurino

National Research Council, Institute of Clinical Physiology, Pisa, Italy

Lucia Arcarisi

Department of Information Engineering, University of Pisa, Pisa, Italy

Nicola Carbonaro

Department of Information Engineering, University of Pisa, Pisa, Italy

Angelo Gemignani

National Research Council, Institute of Clinical Physiology, Pisa, Italy

CHAPTER 3:

METHODOLOGY

Block Diagram:

The plans and techniques used in the design and development of the Hand gesture recognition for change the position of automatic adjustable beds in hospitals are described in this section. In order to perform hand gesture recognition to control bed position, many tools, libraries and languages are used like Open Source Computer Vision Library. Open CV established in Python Language. Python 3.7.4 version is an open source environment for compile the source code. It has many inbuilt function for recognizing hand gesture. The main component used here is the Arduino Uno. It is used to get the information from the Patient, based on the command it can take the necessary action and then change the bed movement. The system consists of biomedical sensors such as temperature sensor and pulse rate sensor. Pulse rate sensor is used for measuring the functioning of heart by blood flow through finger while temperature sensor is used to measure the body temperature through external skin. The sensor readings are then given to microcontroller which process the data. These medical parameter that been measured using sensors will be carefully monitored and if any abnormalities are found, SMS will be sent to the doctor using Nodemcu module. Here the measured physiological parameters such as pulse rate and temperature are also displayed using an LCD.

1. Hardware Setup: Assemble the physical components including Arduino, LCD, heartbeat sensor, temperature sensor, DC motor, emergency switch, and Nodemcu. Connect the components according to the specifications provided by the manufacturers.

2. Arduino Programming: Write code for Arduino to initialize and read data from sensors (heartbeat and temperature). Implement logic for controlling the DC motor based on user input or sensor data. Code emergency switch functionality to disable motorized functions in case of an emergency.

3. LCD Display Integration: Write code to display relevant information on the LCD screen. Display real-time data such as heartbeat, temperature, and bed position. Ensure the LCD interface is user-friendly and informative.

4. Nodemcu Setup for Message Intimation: Integrate Nodemcu into the system for wireless communication. Program Nodemcu to send messages or alerts in case of abnormal conditions. Configure Nodemcu to connect to a Wi-Fi network for internet access.

5. Machine Learning Integration (Gesture Recognition): Choose and set up a machine learning library, such as Mediapipe, for gesture recognition. Collect a dataset for training the machine learning model. This dataset should include examples of different hand gestures for bed control. Train the machine learning model using the collected dataset. Integrate the trained model into the Python code for gesture recognition.

6. Python Programming for Gesture-Based Bed Control: Write Python code to interface with the Arduino and interpret sensor data. Implement logic for translating recognized hand gestures into specific commands for bed control. Ensure seamless communication between the Python script and Arduino for effective control.

CHAPTER 4:

HARDWARE AND SOFTWARE REQUIREMENTS

Functional Requirements:

Bed Position Control:  Users should be able to adjust the bed position using the DC motor. Different bed positions, such as sitting up or lying flat, should be programmable.

Vital Signs Monitoring:  The system must continuously monitor the user's heartbeat using the heartbeat sensor. Display real-time heartbeat data on the LCD screen.

Temperature Regulation:  Utilize the temperature sensor to monitor the ambient temperature around the bed. Allow users to set preferred bed temperature. Automatically adjust bed temperature based on user settings.

Emergency Switch:  Implement an emergency switch that can be activated to immediately stop all motorized functions in case of an emergency. Display an emergency message on the LCD screen when the emergency switch is activated.

Message Intimation:  Nodemcu should be capable of sending notifications or alerts in case of critical conditions, such as abnormal heartbeat or extreme temperature. Integrate with messaging services for sending alerts to predefined contacts.

Gesture-Based Control:  Implement a machine learning algorithm using the Mediapipe library in Python to recognize hand gestures. Allow users to control the bed through predefined hand gestures.

User Interface (UI):  Provide a user-friendly interface on the LCD display for displaying vital signs, temperature, and system status. Include buttons or touch controls for manual bed adjustments.

System Initialization and Calibration:  Allow the system to initialize and calibrate sensors during startup for accurate readings. Implement a user-friendly setup process for configuring initial preferences.

Safety Features:  Incorporate safety checks to prevent motorized functions when the bed is occupied. Implement temperature limits to prevent uncomfortable or unsafe bed temperatures.

Non-Functional Requirements:

Performance:  The system should respond to user inputs promptly, with minimal delay. Maintain accurate sensor readings within specified tolerances.

Reliability:  Ensure that the system operates reliably over extended periods without failures. Implement error-checking mechanisms to handle sensor inaccuracies or communication issues.

Scalability:  Design the system to be scalable, allowing for future additions or upgrades of sensors or features.

Usability:  The user interface should be intuitive, allowing users to easily understand and control the system. Provide clear instructions for setup and troubleshooting.

Security:  Implement secure communication protocols for message intimation to prevent unauthorized access. Protect user data, especially vital signs, from unauthorized access or tampering.

Maintainability:  Structure the code in a modular and well-documented manner to facilitate future maintenance and updates. Provide a mechanism for easy software updates.

Hardware Requirements:

  - Arduino Uno

  - LCD Display

  - Heartbeat Sensor

  - Temperature Sensor

  - Nodemcu

  - DC motor

  - H-Bridge

  - Power Supply

Software Requirements:

  - Arduino IDE

  - Embedded C

  - Python

  - Open CV

Hardware Requirements:

## Arduino Uno:

Arduino/GenuinoUno is a microcontroller board based on  theATmega328P.  It  has  14 digital input/output pins (of which 6 can be used as PWM outputs),  6  analog inputs,  a 16 MHz quartz crystal,  a  USB connection,  a power jack,  an ICSP  header  and  a reset button. It contains everything needed to support the microcontroller; simply connect it to a computer with a USB cable or power it with an  AC-to-DC  adapter  or  battery  to  get started. You can tinker  with  your  UNO  without  worrying  too  much  about   doing  something wrong, worst case scenario you can replace the chip  for a few  dollars  and  start over again. "Uno" means one in Italian and was chosen to mark the release of Arduino Software (IDE) 1.0. The Uno board and version 1.0 of Arduino Software (IDE) were the reference versions of Arduino ,  now evolved  to  newer  releases.  The  Uno  board  is  the  first in a series of USB  Arduino  boards,  and  the  reference  model for the  Arduino  platform; for an extensive list of current, past or outdated boards see the Arduino index of boards.[1]

Fig  : Arduino

## Arduino specification:

| Microcontroller | ATmega328P |
| --- | --- |
| OperatingVoltage | 5v |
| Input voltage | 7-12v |
| Input voltage limit | 6-20v |
| Digital I/O Pins | 6 |
| Analogue input Pins | 6 |
| DC current perI/O pins | 20 Ma |
| DC current for 3.3v Pin | 50 Ma |
| Flash Memory | Of which o.5KB is used |
| SRAM | 2 KB |
| EEPROM | 1KB |
| Clock Speed | 16MHz |
| Length | 68.6mm |
| Width | 53.4nm |
| Weight | 25g |

## Arduino programming:

The Arduino /GenuinoUno can be programmed with the (Arduino Software (IDE)).Select "Arduino/GenuinoUno from the  Tools>Board  menu  (according  to  the  microcontroller  on your board).  The ATmega328 on  the  Arduino/GenuinoUno  comes  preprogrammed with a boot loader that allows us to upload new code to it without the use of an external hardware programmer. It communicates using the original STK500 protocol (reference ,C header files). We can also bypass the boot loader and program the microcontroller through the ICSP (In-Circuit Serial Programming) header using Arduino ISP or similar.  The ATmega16U2/8U2 is loaded with a DFU boot loader, which can be activated by:

      - On Rev1 boards: connecting the solder jumper on the back of the board (near the  map of Italy) and then reusing the8U2.

      - On Rev2 or later boards: there  is a  resistor  that  pulling  the  8U2/16U2  HWB  line to ground, making it easier to put into DFU mode.[1]

## Warnings:

The Arduino/GenuinoUno has a resettable poly fuse that protects your computer's USB ports from shorts and over current. Although most computers provide their own internal protection, the fuse provides an extra layer of protection.  If more than500 mA  is applied to the USB port, the fuse will automatically  break the  connection  until  the  short  or overload is removed.[1]

## Differences with other boards:

The Uno differs from all preceding boards in that it does not use the FTDI USB-to-serial driver chip. Instead, it features the Atmega16U2 (Atmega8U2  up  to version  R2) programmed as a USB-to-serial converter.[1]

## Power:

The Arduino/GenuinoUno board can be powered via the  USB connection  or  with  an external power supply. The power source is selected automatically.

External (non-USB) power can come either from an AC-to-DC adapter (wall-wart)  or battery. The adapter can be connected by plugging a 2.1mm center-positive plug into the board's power jack. Leads from a battery can  be inserted  in  the  GND  and  VIN  pin headers of the POWER connector.

The board can operate on an external supply from 6 to 20 volts.  If supplied with less than7V, however, the 5V pin may supply less than five volts and  the  board  may  become unstable. If using more than 12V, the voltage regulator may over heat  and  damage  the  board. The recommended range is 7 to 12volts.

The power pins are as follows:

      - VIN. The input voltage to the Arduino/ Genuino board when it's using an external power source (as opposed to 5 volts from the USB connection or other regulated power source). One can  supply  voltage  through  this  pin,  or,  if  supplying  voltage via the power jack, access it through this pin.

      - 5V.This pin outputs a regulated 5Vfrom  the  regulator  on  the  board.  The board can be supplied with power either from the DC power jack (7 - 12V), the USB connector (5V), or the VIN pin  of  the  board  (7-12V).  Supplying voltage via  the 5V or 3.3V pins bypasses the regulator, and can damage your  board.  We  don't advise it.

      - 3V3. A 3.3 volt supply generated by the on-board regulator. Maximum current

draw is 50 mA.

      - GND. Ground pins.

      - IOREF. This pin  on  the  Arduino/Genuinoboard  provides  the  voltage  reference with  which  the  microcontroller  operates.  A  properly configured  shield   can  read the IOREF pin voltage and select the appropriate power source or enable voltage translators on the outputs to work with the 5V or 3.3V.[1]

## Memory:

The ATmega328 has 32 KB (with 0.5 KB occupied by the boot loader).  It also  has2 KB of SRAM and 1 KB of EEPROM (which can be read and  written  with  the  EEPROM library).[1]

## Input &Output:

Each of the 14 digital pins on the Uno  can be used as an input  or output,  using pinMode(), digital write (), and digital read () functions. They operate at 5 volts. Each  pin  can provide or receive 20 mA as recommended  operating  condition  and  has  an internal  pull- up resistor (disconnected by default) of 20-50k ohm.A maximum of 40mAis  the value that must not be exceeded on any I/O pin to avoid  permanent  damage  to the microcontroller.

In addition, some pins have specialized functions:

      - Serial: 0 (RX) and 1 (TX). Used to receive (RX) and transmit (TX) TTL serial data. These pins are connected to the corresponding pins of the ATmega8U2 USB-to-TTL Serial chip.

      - External Interrupts: 2 and 3. These pins  can be configured to trigger an interrupt on a low value, a rising or falling edge, or a change in value.  See the  attach interrupt () function for details.

      - PWM: 3, 5, 6, 9, 10, and 11. Provide 8-bit PWM output with the analog write () function.

      - SPI: 10 (SS), 11 (MOSI), 12 (MISO), 13 (SCK). These pins support SPI communication using the SPI library.

      - LED: 13. There is a built-in LED driven by digital pin 13. When the pin is HIGH

value, the LED is on, when the pin is LOW, it's off.

      - TWI: A4 or SDA pin and A5 or SCL pin. Support TWI communication using the Wire library.

The Uno has 6 analog inputs, labeled A0 through A5, each of which provide 10 bits of resolution (i.e. 1024 different values). By default they measure from ground  to5 volts, though is it possible to change the upper end of their range using the AREF pin  and the analog reference ()function.

There are a couple of other pins on the board:

      - AREF. Reference voltage for the analog inputs. Used with analog Reference().

      - Reset. Bring this line LOW to reset the microcontroller. Typically  usedto add a reset button to shields which block the one on the board.[1]

Fig : Pin Specification

## Communication:

Arduino/GenuinoUno has  a number  of  facilities  for  communicating  with  a  computer, another Arduino/Genuinoboard,orothermicrocontrollers.TheATmega328provides UART TTL (5V) serial communication, which is available on  digital  pins  0  (RX)  and  1  (TX). An ATmega16U2 on the board channels this serial communication over USB and appears as a virtual com port to software on the computer. The 16U2 firmware uses the standard USB COM drivers, and no external driver is needed. However, on Windows, an inffile is required. The Arduino Software  (IDE)  includes  a  serial  monitor  which  allows simple textual data to be sent to and  from the  board. The  RX and  TX LEDs  on the  board will flash when  data  is  being  transmitted  via  the  USB-to-serial  chip  and  USB  connection to the computer (but not for serial communication on pins 0 and1).

A Software serial  library allows  serial  communication  on any  of the  Uno's  digital  pins. The ATmega328alsosupports I2C(TWI)  and  SPI  communication.  The  Arduino Software (IDE) includes a Wire library to  simplify use of the  I2C  bus;  seethe documentation for details. For SPI communication, use the SPI library.[1]

## Automatic (Software)Reset:

Rather than requiring a physical press of the reset button before an upload,  the Arduino/GenuinoUno board is designed in a way that allows it to  be  reset  by  software running on a connected computer. One of the hardware flow control lines (DTR) of the ATmega8U2/16U2 is connected to the reset line of the ATmega328 via a 100 nano farad capacitor. When this line is asserted  (taken  low),  the  reset  line  drops long enough to  reset the chip. The Arduino Software (IDE) uses this capability to allow you to  upload code by simply pressing the upload button in the interface  toolbar.  This  means  that  the  boot loader  can have a shorter timeout,  as  the  lowering  of DTR can be well-coordinated  with the  start  of the upload. This setup has other implications. When the Uno is connected to either  a computer running Mac OS X or Linux, it resets each time a connection is made to it from software (via USB). For the following half-second or so,  the boot loader is  running  on the Uno.While  it  is  programmed  to  ignore  malformed   data  (i.e.  anything  besides  an  upload of new code), it will intercept the first few bytes  of  data  sent  to  the  board  after  a connection is opened. If a sketch running on the board receives  one-time  configuration  or other data when it  first  starts,  make  sure  that  the  software  with  which  it  communicates waits a second after opening the connection and before sending this data. The Uno board contains a trace that can be cut to disable the  auto-reset.  The pads on either side of the trace can be soldered together to re-enable it.  It's labeled  "RESET-EN". You may also be  able to  disable  the  auto-reset by connecting a 110 ohm resistor  from 5V to the reset line.[1]

- Relay

A relay is an electrically operated switch. Current flowing through the coil of the relay creates a magnetic field which attracts a lever and changes the switch contacts. The coil current can be on or off so relays have two switch positions and they are double throw (changeover) switches. The relay’s switch connections are usually labeled COM(POLE), NC and NO. In order to trigger the laser we use driver relay.

Many relays use an electromagnet to mechanically operate a switch, but other operating principles are also used, such as solid-state relays. Relays are used where it is necessary to control a circuit by a separate low-power signal, or where several circuits must be controlled by one signal. The first relays were used in long distance telegraph circuits as amplifiers: they repeated the signal coming in from one circuit and re-transmitted it on another circuit. Relays were used extensively in telephone exchanges and early computers to perform logical operations.

TEMPERATURE SENSOR:

The LM35 series are precision integrated-circuit temperature sensors, whose output voltage is linearly proportional to the Celsius (Centigrade) temperature. The LM35 does not require any external calibration or trimming to provide typical accuracies.

GENERAL DESCRIPTION

The LM35 series are precision integrated-circuit temperature sensors, whose output voltage is linearly proportional to the Celsius (Centigrade) temperature. The LM35 thus has an advantage over linear temperature sensors calibrated in° Kelvin, as the user is not required to subtract a large constant voltage from its output to obtain convenient Centigrade scaling. The LM35 does not require any external calibration or trimming to provide typical accuracies of ±1⁄4°Cat room temperature and ±3⁄4°C over a full −55 to +150°Ctemperature range. Low cost is assured by trimming and calibration at the wafer level.

The LM35’s low output impedance, linear output, and precise inherent calibration make interfacing to readout or control circuitry especially easy. It can be used with single power supplies, or with plus and minus supplies. As it draws only 60 μA from its supply, it has very low self-heating, less than 0.1°C in still air. The LM35 is rated to operate over a −55° to +150°C temperature range, while the LM35C is rated for a −40° to +110°C range (−10° with improved accuracy). The LM35 series is available packaged in hermetic TO-46 transistor packages, while theLM35C, LM35CA, and LM35D are also available in the plastic TO-92 transistor package. The LM35D is also available in an 8-lead surface mount small outline package and aplastic TO-220 package.

FEATURES

•	Calibrated directly in ° Celsius (Centigrade)

•	Linear + 10.0 mV/°C scale factor

•	0.5°C accuracy guarantee able (at +25°C)

•	Rated for full −55° to +150°C range

•	Suitable for remote applications

•	Low cost due to wafer-level trimming

Temperature Sensor

•	Less than 60μA current drain

•	Operates from 4 to 30 volts

•	Low self-heating, 0.08°C in still air

•	Low impedance output, 0.1 W for 1 mA load

CIRCUIT DIAGRAM

Figure Circuit diagram of temperature sensor

APPLICATIONS

The LM35 can be applied easily in the same way as other integrated-circuit temperature sensors. It can be glued or cemented to a surface and its temperature will be within about 0.01§C of the surface temperature. This presumes that the ambient air temperature is almost the same as the surface temperature; if the air temperature were much higher or lower than the surface temperature, the actual temperature of the LM35 die would be at an inter- mediate temperature between the surface temperature and the air temperature. This is especially true for the TO-92 plastic package, where the copper leads are the principal thermal path to carry heat into the device, so its temperature might be closer to the air temperature than to the surface temperature. To minimize this problem, be sure that the wiring to the LM35, as it leaves the device, is held at the same temperature as the surface of interest. The easiest way to do this is to cover up these wires with a bead of epoxy which will insure that the leads and wires are all at the same temperature as the surface, and that the LM35 die’s temperature will not be affected by the air temperature.

The TO-46 metal package can also be soldered to a metal surface or pipe without damage. Of course, in that case the Vb terminal of the circuit will be grounded to that metal. Alternatively, the LM35 can be mounted inside a sealed-end metal tube, and can then be dipped into a bath or screwed into a threaded hole in a tank. As with any IC, the LM35 and accompanying wiring and circuits must be kept insulated and dry, to avoid leakage and corrosion. This is especially true if the circuit may operate at cold temperatures where condensation can occur. Printed-circuit coatings and vanishes such as Humiseal and epoxy paints or dips are often used to insure that moisture cannot corrode the LM35 or its connections. These devices are sometimes soldered to a small light- weight heat fin, to decrease the thermal time constant and speed up the response in slowly-moving air. On the other hand, a small thermal mass may be added to the sensor, to give the steadiest reading despite small deviations in the air temperature.

Pulse Rate Sensor:

Pulse Sensor is a well-designed plug-and-play heart-rate sensor for Arduino. It can be used by students, artists, athletes, makers, and game & mobile developers who want to easily incorporate live heart rate data into their projects. The sensor clips onto a fingertip or earlobe and plugs right into Arduino.

How Pulse Sensor Works:

The working of the Pulse/Heart beat sensor is very simple. The sensor has two sides, on one side the LED is placed along with an ambient light sensor and on the other side we have some circuitry. This circuitry is responsible for the amplification and noise cancellation work. The LED on the front side of the sensor is placed over a vein in our human body. This can either be your Finger tip or you ear tips, but it should be placed directly on top of a vein.

Now the LED emits light which will fall on the vein directly. The veins will have blood flow inside them only when the heart is pumping, so if we monitor the flow of blood we can monitor the heart beats as well.  If the flow of blood is detected then the ambient light sensor will pick up more light since they will be reflect ted by the blood, this minor change in received light is analysed over time to determine our heart beats.

### How to use Pulse sensor

Using the pulse sensor is straight forward, but positioning it in the right way matters. Since all the electronics on the sensor are directly exposed it is also recommended to cover the sensor with hot glue, vinyl tape or other non conductive materials. Also it is not recommended to handle these sensors with wet hands. The flat side of the sensor should be placed on top of the vein and a slight presser should be applied on top of it, normally clips or Velcro tapes are used to attain this pressure.

To use the sensor simply power it using the Vcc and ground pins, the sensor can operate both at +5V or 3.3V system. Once powered connect the Signal pin to the ADC pin of the microcontroller to monitor the change in output voltage. If you are using a development board like Arduino then you can use the readily available code which will make things a lot easier. Refer the datasheet at the bottom of the page for more information on how to interface the sensor with Arduino and how to mount it. The schematics of the sensor, code and processing sketch can be obtained from the Sprakfun product page.

### Applications

- Sleep Tracking

- Anxiety monitoring

- Remote patient monitoring/alarm system

- Health bands

- Advanced gaming consoles

### Features

- Biometric Pulse Rate or Heart Rate detecting sensor

- Plug and Play type sensor

- Operating Voltage: +5V or +3.3V

- Current Consumption: 4mA

- Inbuilt Amplification and Noise cancellation circuit.

- Diameter: 0.625”

- Thickness: 0.125” Thick

### DC Motor

DC motors convert electrical into mechanical energy and they consist of permanent magnets and loops of wire inside, When current is applied, the wire loops generate a magnetic field, which reacts against the outside field of the static magnets. The interaction of the fields produces the movement of the shaft/armature. Thus, electromagnetic energy becomes motion.

Fig. DC Motor

Here we use two DC motors for the movement of rover. A DC motor is any of a class of rotary electrical machines that converts direct current electrical energy into mechanical energy.Themostcommontypesrelyontheforcesproducedbymagneticfields.Nearlyall typesofDCmotorshavesomeinternalmechanism,eitherelectromechanicalorelectronic, to periodically change the direction of current flow in part of the motor. DC motors were the first form of motor widely used, as they could be powered from existing direct-current lighting power distribution systems. A DC motor's speed can be controlled over a wide range, using either a variable supply voltage or by changing the strength of current in its field windings. Small DC motors are used in tools, toys, andappliances.

H-Bridge:L293D:

### L293D Pin Configuration

| Pin Number | Pin Name | Description |
| --- | --- | --- |
| 1 | Enable 1,2 | This pin enables the input pin Input 1(2) and Input 2(7) |
| 2 | Input 1 | Directly controls the Output 1 pin. Controlled by digital circuits |
| 3 | Output 1 | Connected to one end of Motor 1 |
| 4 | Ground | Ground pins are connected to ground of circuit (0V) |
| 5 | Ground | Ground pins are connected to ground of circuit (0V) |
| 6 | Output 2 | Connected to another end of Motor 1 |
| 7 | Input 2 | Directly controls the Output 2 pin. Controlled by digital circuits |
| 8 | Vcc2 (Vs) | Connected to Voltage pin for running motors (4.5V to 36V) |
| 9 | Enable 3,4 | This pin enables the input pin Input 3(10) and Input 4(15) |
| 10 | Input 3 | Directly controls the Output 3 pin. Controlled by digital circuits |
| 11 | Output 3 | Connected to one end of Motor 2 |
| 12 | Ground | Ground pins are connected to ground of circuit (0V) |
| 13 | Ground | Ground pins are connected to ground of circuit (0V) |
| 14 | Output 4 | Connected to another end of Motor 2 |
| 15 | Input 4 | Directly controls the Output 4 pin. Controlled by digital circuits |
| 16 | Vcc2 (Vss) | Connected to +5V to enable IC function |

### Features

- Can be used to run Two DC motors with the same IC.

- Speed and Direction control is possible

- Motor voltage Vcc2 (Vs): 4.5V to 36V

- Maximum Peak motor current: 1.2A

- Maximum Continuous Motor Current: 600mA

- Supply Voltage to Vcc1(vss): 4.5V to 7V

- Transition time: 300ns (at 5Vand 24V)

- Automatic Thermal shutdown is available

- Available in 16-pin DIP, TSSOP, SOIC packages

NodeMcu:

| Pin Category | Name | Description |
| --- | --- | --- |
| Power | Micro-USB, 3.3V, GND, Vin | Micro-USB: NodeMCU can be powered through the USB port 3.3V: Regulated 3.3V can be supplied to this pin to power the board GND: Ground pins Vin: External Power Supply |
| Control Pins | EN, RST | The pin and the button resets the microcontroller |
| Analog Pin | A0 | Used to measure analog voltage in the range of 0-3.3V |
| GPIO Pins | GPIO1 to GPIO16 | NodeMCU has 16 general purpose input-output pins on its board |
| SPI Pins | SD1, CMD, SD0, CLK | NodeMCU has four pins available for SPI communication. |
| UART Pins | TXD0, RXD0, TXD2, RXD2 | NodeMCU has two UART interfaces, UART0 (RXD0 & TXD0) and UART1 (RXD1 & TXD1). UART1 is used to upload the firmware/program. |
| I2C Pins |  | NodeMCU has I2C functionality support but due to the internal functionality of these pins, you have to find which pin is I2C. |

### Pinout Configuration

### NodeMCU ESP8266 Specifications & Features

- Microcontroller: Tensilica 32-bit RISC CPU Xtensa LX106

- Operating Voltage: 3.3V

- Input Voltage: 7-12V

- Digital I/O Pins (DIO): 16

- Analog Input Pins (ADC): 1

- UARTs: 1

- SPIs: 1

- I2Cs: 1

- Flash Memory: 4 MB

- SRAM: 64 KB

- Clock Speed: 80 MHz

- USB-TTL based on CP2102 is included onboard, Enabling Plug n Play

- PCB Antenna

- Small Sized module to fit smartly inside your IoT projects

Buzzer:

### Buzzer Pin Configuration

| Pin Number | Pin Name | Description |
| --- | --- | --- |
| 1 | Positive | Identified by (+) symbol or longer terminal lead. Can be powered by 6V DC |
| 2 | Negative | Identified by short terminal lead. Typically connected to the ground of the circuit |

### Buzzer Features and Specifications

- Rated Voltage: 6V DC

- Operating Voltage: 4-8V DC

- Rated current: <30mA

- Sound Type: Continuous Beep

- Resonant Frequency: ~2300 Hz

- Small and neat sealed package

- Breadboard and Perf board friendly

### How to use a Buzzer

A buzzer is a small yet efficient component to add sound features to our project/system. It is very small and compact 2-pin structure hence can be easily used on breadboard, Perf Board and even on PCBs which makes this a widely used component in most electronic applications.

There are two types are buzzers that are commonly available. The one shown here is a simple buzzer which when powered will make a Continuous Beeeeeeppp.... sound, the other type is called a readymade buzzer which will look bulkier than this and will produce a Beep. Beep. Beep. Sound due to the internal oscillating circuit present inside it. But, the one shown here is most widely used because it can be customised with help of other circuits to fit easily in our application.

This buzzer can be used by simply powering it using a DC power supply ranging from 4V to 9V. A simple 9V battery can also be used, but it is recommended to use a regulated +5V or +6V DC supply. The buzzer is normally associated with a switching circuit to turn ON or turn OFF the buzzer at required time and require interval.

### Applications of Buzzer

- Alarming Circuits, where the user has to be alarmed about something

- Communication equipments

- Automobile electronics

- Portable equipments, due to its compact size

Regulated power supply:

Transformer:

A transformer is a device that transfers electrical energy from one circuit to another through inductively coupled conductors without changing its frequency. A varying current in the first or primary winding creates a varying magnetic flux in the transformer's core, and thus a varying magnetic field through the secondary winding. This varying magnetic field induces a varying electromotive force (EMF) or "voltage" in the secondary winding. This effect is called mutual induction. If a load is connected to the secondary, an electric current will flow in the secondary winding and electrical energy will be transferred from the primary circuit through the transformer to the load. This field is made up from lines of force and has the same shape as a bar magnet. If the current is increased, the lines of force move outwards from the coil. If the current is reduced, the lines of force move inwards. If another coil is placed adjacent to the first coil then, as the field moves out or in, the moving lines of force will "cut" the turns of the second coil. As it does this, a voltage is induced in the second coil. With the 50 Hz AC mains supply, this will happen 50 times a second. This is called MUTUAL INDUCTION and forms the basis of the transformer.

Rectifier:

A rectifier is an electrical device that converts alternating current (AC) to direct current (DC), a process known as rectification. Rectifiers have many uses including as components of power supplies and as detectors of radio signals. Rectifiers may be made of solid-state diodes, vacuum tube diodes, mercury arc valves, and other components. A device that it can perform the opposite function (converting DC to AC) is known as an inverter. When only one diode is used to rectify AC (by blocking the negative or positive portion of the waveform), the difference between the term diode and the term rectifier is merely one of usage, i.e., the term rectifier describes a diode that is being used to convert AC to DC. Almost all rectifiers comprise a number of diodes in a specific arrangement for more efficiently converting AC to DC than is possible with only one diode. Before the development of silicon semiconductor rectifiers, vacuum tube diodes and copper (I) oxide or selenium rectifier stacks were used.

Filter:

The process of converting a pulsating direct current to a pure direct current using filters is called as filtration. Electronic filters are electronic circuits, which perform signal-processing functions, specifically to remove unwanted frequency components from the signal, to enhance wanted ones.

Regulator:

A voltage regulator (also called a ‗regulator‘) with only three terminals appears to be a simple device, but it is in fact a very complex integrated circuit. It converts a varying input voltage into a constant ‗regulated ‘output voltage. Voltage Regulators are available in a variety of outputs like 5V, 6V, 9V, 12V and 15V. The LM78XX series of voltage regulators are designed for positive input. For applications requiring negative input, the LM79XX series is used. Using a pair of ‗voltage-divider‘ resistors can increase the output voltage of a regulator circuit. It is not possible to obtain a voltage lower than the stated rating. You cannot use a 12V regulator to make a 5V power supply. Voltage regulators are very robust. These can withstand over-current draw due to short circuits and also over-heating. In both cases, the regulator will cut off before any damage occurs. The only way to destroy a regulator is to apply reverse voltage to its input. Reverse polarity destroys the regulator almost instantly. Fig: 3u shows voltage regulator.

LCD display

Fig . 16*2 LCD display

A liquid-crystal display (LCD) is a flat-panel display or other electronically modulated optical device that uses the light-modulating properties of liquid crystals. Liquid crystals do not emit light directly,  instead  using  a backlight or reflector to  produce  images  in  color or monochrome. LCDs are available to display arbitrary images (as in a general-purpose computer display) or fixed images with low information content, which can be displayed or hidden, such as preset words, digits, and 7-segment displays, as in a digital clock. They use the same basic technology, except that arbitrary images are made up of a large number of small pixels, while other displays have larger elements.

LCD is used in wide range application including computer monitors, televisions, instrument panels, aircraft cockpit displays, and indoor and outdoor signage. Small LCD screens are common  in  portable  consumer  devices  such   as digital   cameras, watches, calculators, and mobile telephones, including smartphones. LCD screens are also used on consumer electronics products such as DVD players, video game devices and clocks. LCD screens have replaced heavy, bulky cathode ray tube (CRT) displays in nearly all applications. LCD screens are available in a wider range of screen sizes than CRT and plasma displays, with LCD  screens  available  in  sizes  ranging  from  tiny digital   watches to   huge,   big-   screen television sets.

Since LCD screens do not use phosphors, they do not suffer image burn-in when a static image is displayed on a screen for a long time (e.g., the table frame for an aircraft schedule on an indoor sign). LCDs are, however, susceptible to image persistence.

Interfacing an LCD with an Arduino

The 16x2 LCD has a total of 16 pins. As shown in the table below, eight of the pins are data lines (pins 7-14), two are for power and ground (pins 1 and 16), three are used to control the operation of LCD (pins 4-6), and one is used to adjust the LCD screen brightness (pin 3). The remaining two pins (15 and 16) power the backlight.The details of the LCD terminals are as follows:

| Terminal 1 | GND |
| --- | --- |
| Terminal 2 | +5V |
| Terminal 3 | Mid terminal of potentiometer (for brightness control) |
| Terminal 4 | Register Select (RS) |
| Terminal 5 | Read/Write (RW) |
| Terminal 6 | Enable (EN) |
| Terminal 7 | DB0 |
| Terminal 8 | DB1 |
| Terminal 9 | DB2 |
| Terminal 10 | DB3 |
| Terminal 11 | DB4 |
| Terminal 12 | DB5 |
| Terminal 13 | DB6 |
| Terminal 14 | DB7 |
| Terminal 15 | +4.2-5V |
| Terminal 16 | GND |

##### Table . LCD terminals

#### LCD MODULE

##### Fig . Output of LCD

The name and functions of each pin of the 16×2 LCD module is given below. Pin1 (Vss): Ground pin of the LCD module.

Pin2 (Vcc): Power to LCD module (+5V supply is given to this pin)

Pin3 (VEE): Contrast adjustment pin. This is done by connecting the ends of a 10K potentimeter to +5V and ground and then connecting the slider pin to the VEE pin. The voltage at the VEE pin defines the contrast. The normal setting is between 0.4 and 0.9V.

Pin4(RS): Register select pin. Logic HIGH at RS pin selects data register and logic LOW at RS pin selects command register. If we make the RS pin HIGH and feed an input to the data lines (DB0 to DB7), this input will be treated as data to display on LCD screen. If we make the RS pin LOW and feed an input to the data lines, then this will be treated as a command ( a command to be written to LCD controller – like positioning cursor or clear  screen or scroll).

Pin5 (R/W): Read/Write modes. This pin is used for selecting between read and write modes. Logic HIGH at this pin activates read mode and logic LOW at this pin activates write mode.

Pin6 (E): This pin is meant for enabling the LCD module. A HIGH to LOW signal at this pin will enable the module.

Pin7 (DB0) to Pin14(DB7): These are data pins. The commands and data are fed to the LCD module though these pins.

Pin15 (LED+): Anode of the back light LED. When operated on 5V, a 560 ohm resistor should be connected in series to this pin. In Arduino based projects the back light  LED can be powered from the 3.3V source on the Arduino board.

Pin16 (LED-): Cathode of the back light LED.

RS pin of the LCD module is connected to digital pin 12 of the Arduino. R/W pin of the LCD is grounded. Enable pin of the LCD module is connected to digital pin 11 of the Arduino. This method is very simple, requires less connections and we can almost utilize the full potential of the LCD module. Digital lines DB4, DB5, DB6 and DB7 are interfaced to digital pins 5, 4, 3 and 2 of the Arduino. The 10K potentiometer is used for adjusting the contrast of the display. The Arduino can be powered through the external power jack provided on the board. +5V required in some other parts of the circuit can be tapped from the 5V source on the Arduino board. The Arduino can be also powered from the PC through the USB port.

Software Requirements:

#### Arduino IDE

A program for Arduino may be written in any programming language for a compiler that produces binary machine code for the target processor. Atmel provides a development environment for their microcontrollers, AVR Studio and the newer Atmel Studio.

The Arduino project provides the Arduino integrated development environment (IDE), which is a cross-platform application written in the programming language Java. It originated from the IDE for the languages Processing and Wiring. It includes a code editor with features such as text cutting and pasting, searching and replacing text, automatic indenting, brace matching, and syntax highlighting, and provides simple one-click mechanisms to compile  and upload programs to an Arduino board. It also contains a message area, a text console, a toolbar with buttons for common functions and a hierarchy of operation menus.

A program written with the IDE for Arduino is called a sketch. Sketches are saved on the development computer as text files with the file extension .ino. Arduino Software (IDE) pre-1.0 saved sketches with the extension .pde.

The Arduino IDE supports the languages C and C++ using special rules of code structuring. The Arduino IDE supplies a software library from the Wiring project, which provides many common input and output procedures. User-written code only requires two basic functions, for starting the sketch and the main program loop, that are compiled and linked with a program stub main() into an executable cyclic executive program with the GNU toolchain, also included with the IDE distribution.

A minimal Arduino C/C++ sketch, as seen by the Arduino IDE programmer, consist of only two functions:

- setup(): This function is called once when a sketch starts after power-up or reset. It is used to initialize variables, input and output pin modes, and other libraries needed in the sketch.

- loop(): After setup() has been called, function loop() is executed repeatedly in the main program. It controls the board until the board is powered off or is reset.

##### Fig . An Arduino Sketch

Embedded C:

- When designing software for a smaller embedded system with the 8051, it is very common place to develop the entire product using assembly code. With many projects, this is a feasible approach since the amount of code that must be generated is typically less than 8 kilobytes and is relatively simple in nature. If a hardware engineer is tasked with designing both the hardware and the software, he or she will frequently be tempted to write the software in assembly language.

- The trouble with projects done with assembly code can is that they can be difficult to read and maintain, especially if they are not well commented. Additionally, the amount of code reusable from a typical assembly language project is usually very low. Use of a higher-level language like C can directly address these issues. A program written in C is easier to read than an assembly program.

- Since a C program possesses greater structure, it is easier to understand and maintain. Because of its modularity, a C program can better lend itself to reuse of code from project to project. The division of code into functions will force better structure of the software and lead to functions that can be taken from one project and used in another, thus reducing overall development time. A high order language such as C allows a developer to write code, which resembles a human’s thought process more closely than does the equivalent assembly code. [25]The developer can focus more time on designing the algorithms of the system rather than having to concentrate on their individual implementation. This will greatly reduce development time and lower debugging time since the code is more understandable.

- By using a language like C, the programmer does not have to be intimately familiar with the architecture of the processor. This means that someone new to a given processor can get a project up and running quicker, since the internals and organization of the target processor do not have to be learned. Additionally, code developed in C will be more portable to other systems than code developed in assembly. Many target processors have C compilers available, which support ANSI C.

- All of this is not to say that assembly language does not have its place. In fact, many embedded systems (particularly real time systems) have a combination of C and assembly code. For time critical operations, assembly code is frequently the only way to go. One of the great things about the C language is that it allows you to perform low-level manipulations of the hardware if need be, yet provides you the functionality and abstraction of a higher order language.

PYTHON

Python is a high-level, interpreted, interactive and object-oriented scripting language. Python is designed to be highly readable. It uses English keywords frequently where as other languages use punctuation, and it has fewer syntactical constructions than other languages.

- Python is interpreted: Python is processed at runtime by the interpreter.You do not need to compile your program before executing it. This is similar to PERL and PHP.

- Python is Interactive: You can actually sit at a Python prompt and interactwith the interpreter directly to write your programs.

- Python is Object-Oriented: Python supports Object-Oriented style ortechnique of programming that encapsulates code within objects.

- Python is a Beginner's Language: Python is a great language for thebeginner-level programmers and supports the development of a wide range of applications from simple text processing to WWW browsers to games.

Python Features

- Easy-to-learn: Python has few keywords, simple structure, and a clearly defined syntax. This allows the student to pick up the language quickly.

- Easy-to-read: Python code is more clearly defined and visible to the eyes.

- Easy-to-maintain: Python's source code is fairly easy-to-maintain.

- A broad standard library: Python's bulk of the library is very portable and cross-platform compatible on UNIX, Windows, and Macintosh.

- Interactive Mode: Python has support for an interactive mode which allows interactive testing and debugging of snippets of code.

- Portable: Python can run on a wide variety of hardware platforms and has the same interface on all platforms.

- Extendable: You can add low-level modules to the Python interpreter. These modules enable programmers to add to or customize their tools to be more efficient.

- Databases: Python provides interfaces to all major commercial databases.

- GUI Programming: Python supports GUI applications that can be created and ported to many system calls, libraries, and windows systems, such as Windows MFC, Macintosh, and the X Window system of Unix.

- Scalable: Python provides a better structure and support for large programs than shell scripting.

Python’s standard library

- Pandas

- Numpy

- Sklearn

- Seaborn

- Matplotlib

- Importing Datasets

- OpenCV

IMAGE PROCESSING USING OPENCV IN PYTHON

### Image processing is the process of manipulating pixel data in order to make it suitable for computer vision applications or to make it suitable to present it to humans. For example, changing brightness or contrast is an image processing task which make the image visually pleasing for humans or suitable for further processing for a certain computer vision application.

#### PYTHON

It is an object-oriented programming language. The processing happens during the runtime, and this is performed by the interpreter. Python's simple to learn and easy to use is an advantage and thus makes it developer friendly. It is easier to read and understand as the syntax is conventional. The code can be executed line by line using the interpreter. Python can support multiple platforms like Linux, UNIX, windows, Macintosh, and so on. The paradigms of Object-oriented programming are supported by python. The functions such as polymorphism, operator overloading and multiple inheritance is supported python.

## Open CV

OpenCV (Open Source Computer Vision) is a library of programming functions mainly aimed at real-time computer vision. Originally developed by Intel, it was later supported by Willow Garage then Itseez (which was later acquired by Intel). The library is crossplatform and free for use under the open-source BSD license. OpenCV supports deep learning  frameworks TensorFlow, Torch/PyTorch and Cafe.

It has C++, Python, Java and MATLAB interfaces and supports Windows, Linux, Android and Mac OS. OpenCV leans mostly towards real-time vision applications and takes advantage of MMX and SSE instructions when available. A full-featured CUDA and OpenCL interfaces are being actively developed right now. There are over 500 algorithms and about 10 times as many functions that compose or support those algorithms. OpenCV is written natively in C++ and has a templated interface that works seamlessly with STL containers.

In 1999, the OpenCV project was initially an Intel Research initiative to advance CPUintensive applications, part of a series of projects including real-time ray tracing and 3D display walls. The main contributors to the project included a number of optimization experts in Intel Russia, as well as Intel‘s Performance Library Team. In the early days of OpenCV, the goals of the project were described as:

- Advance vision research by providing not only open but also optimized code for basic vision infrastructure. No more reinventing the wheel.

- Disseminate vision knowledge by providing a common infrastructure that developers could build on, so that code would be more readily readable and transferable.

- Advance vision-based commercial applications by making portable, performance optimized code available for free – with a license that did not require code to be open or free itself.

Structure of Open CV

Once OpenCV is installed, the OPENCV_BUILD\install directory will be populated with three types of files:

- Header files: These are located in the OPENCV_BUILD\install\includesubdirectory and are used to develop new projects with OpenCV.

- Library binaries: These are static or dynamic libraries (depending on the option selected with CMake) with the functionality of each of the OpenCV modules. They are located in the bin subdirectory (for example, x64\mingw\bin when the GNU compiler is used).

- Sample binaries: These are executables with examples that use the libraries. The sources for these samples can be found in the source package.

General description

- Open source computer vision library in C/C++.

- Optimized and intended for real-time applications.

- OS/hardware/window-manager independent.

- Generic image/video loading, saving, and acquisition.

- Both low and high level API.

Features

- Image data manipulation (allocation, release, copying, setting, conversion).

- Image and video I/O (file and camera based input, image/video file output).

- Matrix and vector manipulation and linear algebra routines (products, solvers,, SVD).

- Various dynamic data structures (lists, queues, sets, trees, graphs).

- Basic image processing (filtering, edge detection, corner detection, sampling and interpolation, color conversion, morphological operations, histograms, image pyramids).

- Structural analysis (connected components, contour processing, distance transform, various moments, template matching, Hough transform, polygonal approximation, line fitting, ellipse fitting, Delaunay triangulation).

- Camera calibration (finding and tracking calibration patterns, calibration, fundamental matrix estimation, homography estimation, stereo correspondence).

- Motion analysis (optical flow, motion segmentation, tracking).

- Object recognition (eigen-methods, HMM).

- Basic GUI (display image/video, keyboard and mouse handling, scroll-bars).

- Image labeling (line, conic, polygon, text drawing)

Applications:

- In Hospitals

- In Home for elderly care

- In Disabled Schools

- In Industries

CONCLUSION

The proposed Gesture Controlled Bed movement is simple to use, and it is an inexpensive one. It is possible to provide a man-machine interaction system, which can be able to manage the movements of the bed position through the recognition of hand gestures. The three-coin algorithm applied to examine convex envelop and dirty points. The estimation of the palm center position is done through the Skyum algorithm, while the Gram algorithm is used to find fingertips. A machine algorithm is used to set the position through different hand gestures. The expression of words have been made successfully by this work for the speech impaired people. This project also helps the patients itself to adjust the bed on their comfort. The wireless smart health monitoring system project is designed to give a better healthcare service. This system is really assisting them in not spending much time with each of the patients for monitoring.

Future Enhancement:

Building a smart bed utilizing sensors and IoT technology represents a significant advancement in the realm of home automation and healthcare. While the current implementation may offer features like sleep monitoring, environmental adjustments, and user comfort optimization, there are several exciting future enhancements to consider:

1. **Health Monitoring and Analysis**: Integrate more advanced sensors to monitor vital signs such as heart rate, respiratory rate, and even detect anomalies like sleep apnea. Utilize machine learning algorithms to analyze the collected data and provide insights into the user's overall health and sleep patterns. This could potentially alert users to health issues or even predict health conditions before they become problematic.

2. **Personalized Sleep Environment**: Develop the capability to personalize the sleep environment based on individual preferences and needs. This could include adjusting the firmness of the mattress, controlling room temperature, lighting, and even playing soothing sounds or white noise to optimize sleep quality for each user.

3. **Integration with Smart Home Ecosystem**: Enable seamless integration with other smart home devices and platforms. For example, syncing with smart thermostats, lighting systems, and security cameras to create a comprehensive home automation experience. Additionally, integrate with personal assistants like Amazon Alexa or Google Assistant for voice-controlled commands and notifications.

4. **Remote Monitoring and Caregiver Alerts**: Implement features for remote monitoring, especially useful for caregivers looking after elderly or medically vulnerable individuals. Receive alerts in real-time regarding any unusual activity or changes in sleep patterns, allowing for timely intervention if necessary.

5. **Sleep Coaching and Guidance**: Offer personalized sleep coaching and guidance based on the user's sleep data. Provide actionable recommendations for improving sleep habits and optimizing the sleep environment to promote better overall health and well-being.

6. **Integration with Wearable Devices**: Sync data with wearable devices such as smartwatches or fitness trackers to provide a more comprehensive view of the user's health and activity levels throughout the day. This integration can enhance the accuracy of sleep tracking and provide valuable insights into factors affecting sleep quality.

7. **Energy Efficiency and Sustainability**: Incorporate energy-efficient components and algorithms to minimize power consumption and reduce environmental impact. Implement features such as automatic shutdown during periods of inactivity or low power mode to conserve energy when the bed is not in use.

8. **Enhanced Security and Privacy**: Prioritize security measures to safeguard sensitive user data collected by the smart bed system. Implement robust encryption protocols, user authentication mechanisms, and regular security updates to mitigate the risk of unauthorized access or data breaches.

By continually innovating and expanding upon the capabilities of smart beds using sensors and IoT technology, we can revolutionize the way we approach sleep health and home automation, ultimately improving quality of life for users worldwide.

REFERENCES

[1] Sajida Fayyaz, Sidra Tahir. “Adjustment of Bed for a Patient through Gesture Recognition: An Image Processing Approach”. IEEE 2018.

[2] Hui-Shyong Yeo & Byung-Gook Lee & Hyotaek Lim. “Hand tracking and gesture recognition system for human-computer interaction using low-cost hardware” Springer Science+Business Media New York 2013.

[3] Diego A. Socolinsky, Andrea Selinger, and Joshua D. Neuheisel. “Face recognition with visible and thermal infrared imagery”. Computer Vision and Image Understanding 91 (24 march 2003) 72–114.

[4] Elli Angelopoulou, Rana Molana, and Kostas Daniilidis. “Multispectral Skin Color Modeling”. Computer Information Science Department, University of Pennsylvania Philadelphia, PA.

[5] Mokhtar M.Hasan, Pramod K. Mishra. “HSV Brightness Factor Matching for Gesture Recognition System”. International Journal of Image Processing (IJIP), Volume (4): Issue (5) .Department of Computer Science Faculty of Science BHU-Varanasi

Uttar Pradesh-221005, India.

[6] Gaglio. S, G.L. Re, and M. Morana. “Human activity recognition process using 3-D posture data”. IEEE Transactions on Human-Machine Systems. vol. 45, no.5, pp. 586-597, 2015.

[7] L. Jin, Y. Zhou, Z. Cheng, et al. “Magic ring: A finger-worn device for multiple appliances control using static finger gestures”. Sensors. vol. 12, no. 5, pp. 5775C5790, 2012.

[8] Zarit, Benjamin D., Boaz J. Super, and Francis KH Quek, “Comparison of five-color models in skin pixel classification”. Recognition, Analysis, and Tracking of Faces and Gestures in Real-Time Systems Proceedings. International Workshop, IEEE, 1999, pp. 58-63.

[9] Do, Martin, Tamim Asfour, and Rüdiger Dillmann, “Particle filter-based fingertip tracking with circular hough transform features”. Threshold. 2, 2011, pp.2

[10] Ali Hamza, Rahul Anand, Pragati Shivhare, Anjali Gaurav “Hand Gesture Recognition Applications”, International Journal of Interdisciplinary Research (IJIR) Vol-3, Issue-4, 2017 ISSN: 2454-1362

[11] Hernandez-Rebollar, J. L. Kyriakopoulos, N.Lindeman R.W, “A new instrumented approach for translating American Sign Language into sound and text” ,Proceedings of the Sixth IEEE International Conference, 2004

[12] Mehdi S.A., Khan Y. N., “Sign language recognition using sensor gloves”, Proceedings of the 9th International Conference, Volume:5, IEEE Conference Publications, 2002.

[13] Kunal Kadam, Rucha Ganu, Ankita Bhosekar, Prof. S. D. Joshi, “American Sign Language Interpreter”, Proceedings of the IEEE Fourth International Conference on Technology for Education, 2012

[14] Satjakarn Vutinuntakasame, “An Assistive Body Sensor Network Glove for Speech- and Hearing- Impaired Disabilities”, Proceedings of the IEEE Computer Society International Conference on Body Sensor Networks, 2011.

[5] Anbarasi Rajamohan, Hemavathy R., Dhanalakshmi M,“Deaf-Mute Communication Interpreter”, International. Journal of Scientific Engineering and Technology (ISSN : 2277-1581) Volume 2 Issue 5, pp : 336-341, 1 May 2013

[16] K.C. Shriharipriya and K. Arthy, “Flex sensor based hand gesture recognition system”, Proceedings of International Journal Of Innovative Research And Studies (IJIRS), Vellore, India, May 2013.